Purpose

The purpose of this document is to provide performance specifications and operational requirements for the RBtec IRONCALD Fence Line Sensor technology for fence disturbance detection.

This document is written in a generic format without reference to the RBtec IRONCALD Fence Line Sensor.

These specifications may be copied to form a generic procurement specification for vibration type fence disturbance detection systems.

Equipment Classification

The RBtec IRONCLAD system is a transducer fence disturbance sensor, used in conjunction with fences, walls and all types of physical barriers, for indoor and outdoor perimeter intrusion detection.

The RBtec IRONCLAD system functions as a standalone system or as an integrated solution as part of a centralized control and maintenance facility.

Disclaimer

This A&E text is based upon MasterFormat™ [2004 Edition] issued by the Construction Specifications Institute (CSI) www.csinet.org/masterformat. By removing the article “Manufactured units”, the text may be used also in performance-based specifications.

All information in this document is subject to change without notice. RBtec reserves the right to make changes to product design or manufacturing methods, as research & development, or as other circumstances warrant.

Table of Contents

PART 1	GENERAL	4

1.01	General Requirements	4

1.02	Quality Assurance	4

1.03	Definitions	4

1.04	Submittals	5

PART 2	PRODUCTS	5

2.01	Manufacturers:	5

2.02	General Detection Properties	5

2.03	Installation and Configuration Capabilities	6

2.04	Sensor Characteristics	7

2.05	Processor Specification	8

2.06	Distributed Processing	9

2.07	System Component Requirements	9

2.08	Environmental Operating Range	10

2.09	Power Requirements	10

2.010	Reliability	10

2.011	Physical Installation Parameters	10

2.012	Weather Compensation	10

PART 3	ALARM MANAGEMENT SOFTWARE / DISPLAY SYSTEM	11

3.01	The Alarm Reporting/Graphic Display	11

3.02	The Alarm Management Unit	12

PART 4	INSTALLATION	13

4.01	Manufacturer’s Recommended Procedures	13

4.02	Installer Certification and ATP	13

PART 5	SYSTEM MAINTENANCE AND REPAIR	13

5.01	Recalibration Requirements	13

5.02	Sensor Cable Repair	13

5.03	Product Support	13

PART 6	CERTIFICATIONS	13

6.01	ISO 9002 Standard	13

# GENERAL

## General Requirements

### Provide a complete perimeter security system consisting of a fence, razor coil, wall or other barrier type mounted sensor including all appropriate controls, wiring and accessories, monitoring hardware, as required, to provide a complete and fully functional perimeter security system.

### The system shall be used in conjunction with fences, razor coil, walls and other types of physical barriers to protect the perimeter of a site.

### The system shall be capable of monitoring different types of barriers, such as;

#### Metal Fabric Fences:

##### Chain link

##### Expanded metal

##### Bar type

##### Welded mesh

### The detection system shall be of the manufacturer’s official product line, designed for government/commercial/industrial 24/7/365 use.

### The detection system shall be based upon standard components and proven technology using open and published protocols.

## Quality Assurance

### All installation, configuration, setup, system programming and related work shall be performed by technicians thoroughly trained and certified by the manufacturer in the installation and service of the equipment provided.

### All general equipment provided shall be backed by a minimum of two years manufacturer warranty, except where manufacturer warranties state otherwise.

## Definitions

### Protected or Protection Zone: A space or area or area which an intrusion must be detected and uniquely identified, the sensor or group of sensors assigned to perform the detection, and any interface equipment between sensors and communication link to central-station control unit.

### Standard Intruder:  A person who weighs 100 lbs. (45 kg) or less.

## Submittals

### Product Data: Components for sensing, detecting, and control, including dimensions and data on features, performance, electrical characteristics, ratings and finishes.

### Shop Drawings: Detail assemblies of standard components that are custom assembled for specific application on this project.

#### Functional Block Diagram: Show single-line interconnections between components. Indicate control, signal and data communication paths and identify control interface devices and media to be used. Describe characteristics of network and other data communication lines.

### Equipment and System Operation Description: Include method of operation and supervision of each component and each type of circuit. Show sequence of operations for manually and automatically initiated system or equipment inputs. Description must cover this specific Project; manufacturer’s standard descriptions for generic systems are not acceptable.

# PRODUCTS

## Manufacturers:

## The IRONCLAD system from RBtec perimeter security systems (www.rbtec.com) meets the requirements stated in this document.

## General Detection Properties

### The sensor shall:

#### Be designed to detect intruders’ attempts of climbing, lifting or cutting a fence while rejecting other types of disturbances to the fence fabric.

#### Consist of 2 integral and unseparated layers of a metallic braided mesh as an outer physical protection and an ultraviolet resistant vibration transducer cable, two wires, coaxial type cable and a microprocessor based dual zone digital signal processor. The cable construction shall be 1. Metallic braid mesh 2. Ultraviolet resistant PVC 3. Ground wire 4. Clear PVC 5. Center copper conductor wire. Cable should be coaxial type vibration cable. Max diameter of 4.8mm (0.188")

#### Be capable of monitoring different types of metal fabric fencing such as chain-link, expanded-metal or welded-mesh.

#### Detect intruders by utilizing signals generated by the minute flexing of the sensor transducer cable, caused by attempting to cut, climb, or lift the fence fabric.

#### Be capable of functioning as either a standalone system or as an integral part of a centralized control and maintenance facility.

#### The sensor cable shall be affixed to the fence with stainless steel twist ties premade with loops at the end.

### Probability of Detection

#### The probability of detection (PD) of an intruder cutting the fence, and for unaided climbing attempts shall be of a confidence factor of 98% or greater.

## Installation and Configuration Capabilities

### The system shall be simple to install and shall have the following characteristics, as a minimum:

#### The sensor cable must be capable of being attached directly to the fence without needing to be put in a conduit.

#### The sensor cable must be capable of being attached to the fence with standard UV-resistant cable ties (plastic or metal).

#### It shall be possible to mount the processor directly on a fence post that forms part of the fence to be protected

#### It shall be possible to connect the sensor cable directly to the processor without the need for any intermediary lead cable.

#### All electrical connections to the processor, including the sensor cables, shall be made with screw-terminals on removable connectors without any connector.

### The system shall support the following configuration and calibration features:

#### The processor shall not need any software calibration for basic operation.

#### Configuration and sensitivity adjustment shall be performed via buttons as a standalone or via a Windows-based software tool with a graphical user interface for advanced configuration.

### Nuisance Alarm Rate/ False Alarm Rate (NAR/FAR)

#### Nuisance Alarms: The system shall operate within specification in typical outdoor environments. The system shall be installed in accordance with manufacturer’s recommendations to minimize the probability of alarms generated from the following factors while maintaining the full PD for valid intrusion attempts.

##### Precipitation including rain, snow, hail and fog.

##### Sunrise/sunset

##### Wind

##### Temperature changes

##### Sandstorms

##### Motion of nearby objects (vehicles, etc.) Up to a distance of 8 feet (2.4 meters).

##### Motion at surface or below surface water. Up to a distance of 8 feet (2.4 meters).

##### Nearby vegetation up to 1 foot (30 centimeters) in height.

##### Nearby sources of radio-frequencies (RFI) and electro-magnetic (EMI) interferences.

##### Seismic ground vibrations

##### Acoustic or magnetic field effects.

#### Before installation is to begin, the installer shall report to the customer, in writing, as to all site specific conditions that may contribute to a higher Nuisance Alarm Rate.

#### The customer shall decide whether to remedy the situation or accept the nuisance alarm sources without any further responsibility on the part of the installer or the manufacturer.

#### False Alarms: The maximum rate for False Alarms generated by internal electronic processes (not including cables) shall be less than one per zone per 12 months, averaged over the total number of zones in the system.

## Sensor Characteristics

### Zone Length:

#### The maximum length of each zone shall be maximum 1000 feet (305m) of the Fence Line Sensor. Individual zone lengths shall be determined by the physical boundaries of each zone.

#### The sensor cable shall be supplied in rolls of 250/500/1000 feet (75/152/305m) and shall be cut to the correct length at the time of installation.

### The sensor cable shall:

#### Be specifically designed for operating as a sensor for fences in outdoor use.

#### Must be constructed of 3 layers of protection for the sensing core.

#### Contain one micro coax type stranded single copper core insulated wires shielded with an overall metallic braid, providing 95% coverage at least.

#### MUST have an outer jacket made of steel braid armor as an integral part of the cable and inseparable. Conduit, flex pipe or any separate armor that is separated and integral part of the cable construction won’t be accepted.

#### Have an overall diameter of not more than 0.189 inches (4.80mm).

#### Have a total weight of not more than 230 pounds per mile (65 kg/km).

#### Have an end of line resistor of 1MΩ, capsulated in a sealed plastic enclosure with IP-66.

## Processor Specification

### The field processor shall:

#### Must be constructed from the main motherboard with 4 slots to connect:

##### CPU board

##### Communication board

##### Power management board

##### Interface surge protection board

#### The boards mentioned above will be detachable from the onboard socket to repair, maintain and upgrade in the future.

#### The CPU has to be mounted on a detachable PCB board from the main processor board. CPU chip as part of the mainboard won’t be accepted.

#### Be capable of processing up to 4 independent detection zones.

#### Won’t need any local or remote calibration by software or computer for initial operate.

#### Must have visual LEDs for alarm trigger per zone.

#### Must have LED strip indicating detection levels per zone.

#### Be capable of accepting 4 general purposes auxiliary dry contact inputs for contacts or motions to integrate them into the system communication network.

#### Be capable of remote sensitivity management of each individual zone.

#### Be capable of local sensitivity management of each individual zone as a standalone unit by buttons with no software.

#### Be cable for local calibration by windows software through a USB-C interface.

#### Be capable of arming/disarming or shunting each individual zone.

#### Be protected by an integral PIR based tamper switch.

#### Be capable of automatically adjusting zone sensitivities resulting from standalone weather station unit input on board or communication. The processor shall have circuitry that accepts and analyzes weather condition measurements for rain, wind and hail.

#### Have internal circuitry to protect against lightning and voltage transients.

#### Be capable of monitoring a weather station directly connected to the processor.

## Distributed Processing

### The Field Processor shall:

#### Be capable to communicate to central control via industry accepted protocols

#### Have at least 4 dry contact alarm outputs.

#### Have at least 4 dry contact general outputs.

#### Have dedicated 1 tamper alarm output

#### Have dedicated 1 power outage alarm output

### The Field Processors shall:

#### Be capable of being distributed along the proposed protected perimeter.

### Where processors are distributed along the perimeter:

#### Each processor shall receive and process the signals from the sensors along the cable while providing fail-safe operation.

#### The failure of one processor shall not affect the signal processing of the other processors along the perimeter.

## Advanced Calibration

### The field processor shall have the capability to adjust the processor parameter by the calibration software:

#### Sensitivity

#### Upper/Lower threshold

#### Max/Min Sensitivity range

#### Bucket inflow and outflow

#### Alarm threshold

#### Manually activate the zone relay

#### Set relay timer

## System Component Requirements

### Surge Protection: Protect components from voltage surges originating external to equipment housing and entering through power, communication, signal, control, or sensing leads. Include surge protection for external wiring of each conductor entry connection to components.

#### Minimum protection for power lines 120V and more: Auxiliary panel suppressors complying with requirements in Division 26 Section “Transient-Voltage Suppression for Low-Voltage Electrical Power Circuits.”

#### Minimum Protection for Communication, Signal, Control, and Low-Voltage Power Lines: Comply with requirements in Division 26 Section “Transient-Voltage Suppression for Low-Voltage Electrical Power Circuits” as recommended by manufacturer for type of line being protected.

### Interference Protection: Components shall be unaffected by radiated RFI and electrical induction of 15V/m over a frequency range of 10 to 10,000 MHz and conducted interference signals up to 0.25-V RMS injected into power supply lines at 10 to 10,000 MHz.

### Tamper Protection: External Tamper switches on cabinets and other system components shall initiate a tamper-alarm signal when unit is opened or partially disassembled and when entering conductors are cut or disconnected. Central control unit alarm display shall identify tamper alarms and indicate locations.

## Environmental Operating Range

### The system shall operate within specifications under the following environmental conditions:

#### Temperatures between -40ºF and 176ºF (-40ºC and 80ºC)

#### Relative humidity between 0 and 100%.

## Power Requirements

### The field processor shall operate at DC and low voltage AC and shall accept input power from AC/DC power supplies at:

#### 9 to 48 VDC for individual unit powering with consumption of no more than 250mA@12VDC.
The individual unit DC power supplies shall accept AC power at 115 V/60 Hz or 230 V/50 Hz.

#### 24 VAC for individual unit powering

## Reliability

### The field processor shall have a mean time between failures (MTBF) of greater than 40,000 hours and a mean time to replace (MTTR) of less than 30 minutes.

## Physical Installation Parameters

### When installed outdoors, the field processor shall:

#### Be installed in a plastic weatherproof, double-walled enclosure which meets standard IP66/NEMA4X.

#### Include a hinged cover and a tamper device.

#### Be mounted on a fence pole, or wall on which the sensor cables are mounted, on the secure side of the perimeter.

## Weather Compensation

### A. Weather compensation module shall be available to monitor weather conditions at the site and supply related data to the field processor.

B.  Weather compensation module would feed the information directly into the field processor with dry contacts or through communication.

#### C. The field processor shall be capable of utilizing the data to increase the level of discrimination between environmental effects such as; wind, rain and hail and actual intrusion attempts.
The unit shall be capable to be mounted on a pole, fence or a wall.

### The weather compensation unit will be constructed from:

### UV protected plastic wind anemometer that generates milivoltage.

### 3 round metal plates, only 2 will have vibration sensors for sensing rain.

### 90 degree metal arm to hold the weather compensation unit.

# ALARM MANAGEMENT SOFTWARE / DISPLAY SYSTEM

## The Alarm Reporting/Graphic Display

#### The Alarm management software shall be able to operate on Microsoft Windows 10/11/Server

#### The Alarm management software shall be based on .NET architecture and in a server-client form allowing one server with multiple monitoring stations.

#### The Alarm management software shall work with mouse and keyboard or touch screen with no adaptations.

#### The Alarm management software shall communicate with the system management unit via USB, both methods need to be available and operational.

#### The alarm management software and the system management unit shall work in redundancy, in case the soft does not operate the system management unit would take over the monitoring of the system automatically and continue to monitor the system

#### Audible annunciation and visual indication for each alarm event will be provided by a monitor display in the control room. The monitor shall indicate a flashing zone along the fence identifying the exact alarming zone. The map will be based on a satellite picture such as “google earth/maps” and zones will be displayed over the picture.

#### All system activity shall be permanently recorded in a permanent database stored in the main server, exporting the reports shall be available in the forms of paper printer, word, excel and pdf files. All the information shall be stored on the hard drive.

#### The software will keep 2 separate databases:

#### Alarm database where all alarms are saved with time stamp, user name, time of alarm, time of acknowledging the alarm, the reason it was cleared with and the time it was cleared.

#### System operation database where all system activities are save such as but not limited to: arm/disarming zones, changing sensitives, login and logout of the system, loss of communication with field units.

#### The officer operating the software shall be capable after acknowledging the alarm to categorize it by the reason such as true alarm, false alarm, rain and wind, system check, work near the fence for future analysis of the database.

#### The acknowledge process of alarms will be a 2 step process: 
1. Acknowledging by clicking the acknowledge button.
2. Clearing the alarm by choosing a specific reason from a pop up menu.

## The Alarm Management Unit

#### The system management unit shall communicate via RS485 with the various processor units (transponders) distributed around the perimeter or located in the control room.

#### The system management unit shall be capable of fully monitoring and operating the fence intrusion detection system including acknowledge alarms, deleting alarms, changing sensitivity by zone, arm/disarming by zone, changing communication method with the PC software without a PC present.

#### The system management unit shall take over automatically on the monitoring of the perimeter in case of server failure.

#### The system management unit shall log, save and report until server is back to operation, once it is it will transfer all the information into the server for logging automatically.

#### The system management unit shall have a LCD screen and at least 6 buttons for menu, esc, up, down, acknowledge and delete.

#### The system management unit shall have input for weather station in order to monitor weather for the whole perimeter and distribute the signal to the other electronics.

# INSTALLATION

## Manufacturer’s Recommended Procedures

### The system shall be installed and commissioned in accordance with the manufacturer’s recommended procedures as defined in the product’s installation and setup manuals.

## Installer Certification and ATP

### Prior to installation, the installer shall have completed a manufacturer’s training program and be certified by the manufacturer. Alternatively, the installer shall be required to have the manufacturer, or their designate, provide qualified technical support for installation and commissioning.

### Acceptance tests shall be performed in accordance with standard industry accepted procedures available from the manufacturer.

# SYSTEM MAINTENANCE AND REPAIR

## Recalibration Requirements

### There shall be no need for recalibration after the system has been fully calibrated and commissioned except as the fence condition deteriorates over time or from unexpected occurrences that may affect the stability of the fence posts or fabric components.

## Sensor Cable Repair

### If the sensor cable is cut or damaged, it shall be capable of being repaired using additional cable, if required, and an appropriate splice kit. The splice kit shall require the use of only standard tools (i.e. screwdriver, wire strippers, wire cutters, etc.)

## Product Support

### The field processor shall carry a minimum one-year warranty from the date of purchase.

### The sensor and sensor cable shall carry a manufacturer’s warranty to be free from defect and/or failure for a minimum of 10-years from the date of purchase.

### The supplier shall warrant that the product shall be supported by spare parts and assemblies for a minimum of 10-years.

# CERTIFICATIONS

## ISO 9002 Standard

### The products, including sensors, cables and field transponders, when integrated into one whole system, shall be manufactured in accordance with ISO 9002 standards.